## Tabelle1
x-ray absorption / reflection / diffraction |  |  |  | XMCD (absorption / reflection)
source noise limited measurement |  |  |  | source noise limited measurement
| quantity |  | unit |  | quantity |  | unit
source noise | f | 5% | % | source noise | f | 5% | %
degree of significance | r | 2.4 |  | degree of significance | r | 15
maximum relative pump-induced change | p | 0.5% | % | magnetic contrast | c | 15% | %
number of acquisition channels | M | 50 |  | maximum relative pump-induced change | p | 60% | %
|  |  |  | number of acquisition channels | M | 50
Acquisition time | T | 16 | hours | Acquisition time | T | 13.7346 | hours
counting statistic limited measurement |  |  |  | counting statistic limited measurement
| quantity |  | unit |  | quantity |  | unit
detected counts per second | n | 50 | cts/sec | detected counts per second | n | 50 | cts/sec
degree of significance | r | 5 |  | degree of significance | r | 15
maximum relative pump-induced change | p | 60% | % | magnetic contrast | c | 15% | %
number of acquisition channels | M | 50 |  | maximum relative pump-induced change | p | 60% | %
|  |  |  | number of acquisition channels | M | 50
Acquisition time | T | 0.03858 | hours | Acquisition time | T | 109.8765 | hours